Diagram 3
THE WOOD GRID
SUSPENDED COFFERED CEILING SYSTEM
PAINT/STAIN GUIDE
*Staining or top coating should be done prior to installation.
*Touch up if necessary.
*Priming should be done prior to installation.
*Painting of grid can be done before or after installation.
*Coffers should be painted before installation.
No Paint or Stain Necessary
No Paint or Stain Necessary
No Paint or Stain Necessary
No Paint or Stain Necessary
Paint/Stain
Paint/Stain
Paint/Stain
Paint/Stain
PT 219 Panel Mold 7/8 x 1-1/2
Coffer
No Paint or Stain Necessary
No Paint or Stain Necessary
Paint/Stain
Paint/Stain
Paint/Stain
Paint/Stain
Paint/Stain
PT 1450 W
G
PT 1451 Cove Band 3/4 x 4
 3/4 x 3
OOD
RID
Stain or prime the key-lock ends (shaded area) of the
cross tees as shown in order to prevent
raw wood from showing. Do not top coat.
Wipe away any drips or runs as these can
prevent the key-lock joint from fitting into
the grid.
M
W
P
C
IDWESTERN
OOD
RODUCTS
OMPANY
        207 Voris St. Suite 2
*In areas with high humidity, sealing the back side
Peoria. Illinois 61603
of all components is recommended.
Phone 309/266-9771
woodgrid@aol.com